## 1 - March 2014 Estimates
Levelized Cost of Energy | [9 empty] | Undertaking #41
Keeyask Generating Station
| Current Dollar Year: | 2013 |  |  |  |  | With Transmission | 2013$ | 2014$
| Discount Rate: | 5.05 | % |  |  |  | Base Estimate: | 3698.5101 | 3768.9243 | $Million
| Service Life: | 67 | yrs |  |  |  | Overnight Capital Cost: | 5321.5972 | 5422.9127 | $/kW
| Time to First Power: | 7 | yrs |  |  |  | LCOE@Gen.: | 60.8919 | 62.0512 | $/MW.h
| Nominal Capacity: | 695 | MW |  |  |  | LCOE@Load: | 66.9811 | 68.2563 | $/MW.h
| Net Summer Capacity: | 630 | MW
| Net Winter Capacity: | 630 | MW |  |  |  | Without Transmission | 2013$ | 2014$
| Capacity Factor: | 60 | % |  |  |  | Base Estimate: | 3552.7336 | 3620.3725 | $Million
| Auxiliary Power: | 0 | % |  |  |  | Overnight Capital Cost: | 5111.8469 | 5209.1691 | $/kW
| N to S Trans. Adjustment: | 10 | % |  |  |  | LCOE@Gen.: | 58.6772 | 59.7943 | $/MW.h
| Capital Tax: | 0.5 | % |  |  |  | LCOE@Load: | 64.5449 | 65.7738 | $/MW.h
| Water Rental Rate: | 3.3426 | $/MW.h
| Heat Rate: | N/A | Btu/kW.h
Generation (Millions of $CDN)
Fiscal Year | Years to Earliest ISD | Average Net Energy (GW.h) | Generating Station | Trans. Station | Trans. Line | Capital Tax on GS | Capital Tax on TL & TS | Water Rentals | Fixed O&M | TOTAL COST
Sunk
2013/14 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014/15 | -5 | 0 | 374.1782 | 1.0664 | 10.2347 | 1.8709 | 0.056505 | 0 | 0 | 387.4067
2015/16 | -4 | 0 | 645.3567 | 0.42039 | 8.4568 | 5.0977 | 0.10089 | 0 | 0 | 659.4325
2016/17 | -3 | 0 | 712.9228 | 14.7064 | 1.156 | 8.6623 | 0.1802 | 0 | 0 | 737.6277
2017/18 | -2 | 0 | 873.8455 | 18.3428 | 10.8149 | 13.0315 | 0.32599 | 0 | 0 | 916.3607
2018/19 | -1 | 0 | 500.8998 | 19.21 | 22.3012 | 15.536 | 0.53355 | 0 | 0 | 558.4806
2019/20 | 0 | 1371 | 253.3955 | 16.3908 | 22.6674 | 16.803 | 0.72884 | 4.5017 | 16.2691 | 330.7563
2020/21 | 1 | 3955 | 134.0643 | 0 | 0.0085938 | 17.4733 | 0.72888 | 12.9862 | 16.3604 | 181.6217
2021/22 | 2 | 4430 | 58.0709 | 0 |  | 17.7637 | 0.72888 | 14.5459 | 15.9625 | 107.0719
2022/23 | 3 | 4430 |  | 0 |  | 17.7637 | 0.72888 | 14.5459 | 16.1754 | 49.2138
2023/24 | 4 | 4430 |  | 0 |  | 17.7637 | 0.72888 | 14.5459 | 16.0051 | 49.0435
2024/25 | 5 | 4430 |  | 0 |  | 17.7637 | 0.72888 | 14.5459 | 15.8483 | 48.8867
2025/26 | 6 | 4430 |  | 0 |  | 17.7637 | 0.72888 | 14.5459 | 15.6141 | 48.6526
2026/27 | 7 | 4430 |  | 0 |  | 17.7637 | 0.72888 | 14.5459 | 15.1884 | 48.2268
2027/28 | 8 | 4430 |  | 0 |  | 17.7637 | 0.72888 | 14.5459 | 15.1884 | 48.2268
2028/29 | 9 | 4430 |  | 0 |  | 17.7637 | 0.72888 | 14.5459 | 15.231 | 48.2694
2029/30 | 10 | 4430 |  | 0 |  | 17.7637 | 0.72888 | 14.5459 | 17.8747 | 50.9132
2030/31 | 11 | 4430 |  | 0 |  | 17.7637 | 0.72888 | 14.5459 | 14.0177 | 47.0561
2031/32 | 12 | 4430 |  | 0 |  | 17.7637 | 0.72888 | 14.5459 | 14.0177 | 47.0561
2032/33 | 13 | 4430 |  | 0 |  | 17.7637 | 0.72888 | 14.5459 | 14.0177 | 47.0561
2033/34 | 14 | 4430 |  | 0 |  | 17.7637 | 0.72888 | 14.5459 | 14.0177 | 47.0561
2034/35 | 15 | 4430 |  | 0 |  | 17.7637 | 0.72888 | 14.5459 | 14.0177 | 47.0561
2035/36 | 16 | 4430 |  | 0 |  | 17.7637 | 0.72888 | 14.5459 | 13.3719 | 46.4104
2036/37 | 17 | 4430 |  | 0 |  | 17.7637 | 0.72888 | 14.5459 | 13.3719 | 46.4104
2037/38 | 18 | 4430 |  | 0 |  | 17.7637 | 0.72888 | 14.5459 | 13.3719 | 46.4104
2038/39 | 19 | 4430 |  | 0 |  | 17.7637 | 0.72888 | 14.5459 | 13.3719 | 46.4104
2039/40 | 20 | 4430 |  | 0 |  | 17.7637 | 0.72888 | 14.5459 | 16.211 | 49.2494
2040/41 | 21 | 4430 |  | 0 |  | 17.7637 | 0.72888 | 14.5459 | 13.3719 | 46.4104
2041/42 | 22 | 4430 |  | 0 |  | 17.7637 | 0.72888 | 14.5459 | 13.3719 | 46.4104
2042/43 | 23 | 4430 |  | 0 |  | 17.7637 | 0.72888 | 14.5459 | 13.3719 | 46.4104
2043/44 | 24 | 4430 |  | 0 |  | 17.7637 | 0.72888 | 14.5459 | 13.3719 | 46.4104
2044/45 | 25 | 4430 |  | 0 |  | 17.7637 | 0.72888 | 14.5459 | 15.0754 | 48.1138
2045/46 | 26 | 4430 |  | 0 |  | 17.7637 | 0.72888 | 14.5459 | 15.0754 | 48.1138
2046/47 | 27 | 4430 |  | 0 |  | 17.7637 | 0.72888 | 14.5459 | 15.0754 | 48.1138
2047/48 | 28 | 4430 |  | 0 |  | 17.7637 | 0.72888 | 14.5459 | 14.2236 | 47.2621
2048/49 | 29 | 4430 |  | 0 |  | 17.7637 | 0.72888 | 14.5459 | 13.3719 | 46.4104
2049/50 | 30 | 4430 |  | 1.0664 |  | 17.7637 | 0.73421 | 14.5459 | 16.211 | 50.3211
2050/51 | 31 | 4430 |  | 0.42039 |  | 17.7637 | 0.73632 | 14.5459 | 13.3719 | 46.8382
2051/52 | 32 | 4430 |  | 14.7064 |  | 17.7637 | 0.80985 | 14.5459 | 13.3719 | 61.1977
2052/53 | 33 | 4430 |  | 18.3428 |  | 17.7637 | 0.90156 | 14.5459 | 13.3719 | 64.9259
2053/54 | 34 | 4430 |  | 19.21 |  | 17.7637 | 0.99761 | 14.5459 | 13.3719 | 65.8891
2054/55 | 35 | 4430 |  | 16.3908 |  | 17.7637 | 1.0796 | 14.5459 | 13.3719 | 63.1518
2055/56 | 36 | 4430 |  |  |  | 17.7637 | 1.0796 | 14.5459 | 13.3719 | 46.7611
2056/57 | 37 | 4430 |  |  |  | 17.7637 | 1.0796 | 14.5459 | 28.5608 | 61.9499
2057/58 | 38 | 4430 |  |  |  | 17.7637 | 1.0796 | 14.5459 | 13.3719 | 46.7611
2058/59 | 39 | 4430 |  |  |  | 17.7637 | 1.0796 | 14.5459 | 28.5608 | 61.9499
2059/60 | 40 | 4430 |  |  |  | 17.7637 | 1.0796 | 14.5459 | 16.211 | 49.6001
2060/61 | 41 | 4430 |  |  |  | 17.7637 | 1.0796 | 14.5459 | 28.5608 | 61.9499
2061/62 | 42 | 4430 |  |  |  | 17.7637 | 1.0796 | 14.5459 | 13.3719 | 46.7611
2062/63 | 43 | 4430 |  |  |  | 17.7637 | 1.0796 | 14.5459 | 28.5608 | 61.9499
2063/64 | 44 | 4430 |  |  |  | 17.7637 | 1.0796 | 14.5459 | 13.3719 | 46.7611
2064/65 | 45 | 4430 |  |  |  | 17.7637 | 1.0796 | 14.5459 | 28.5608 | 61.9499
2065/66 | 46 | 4430 |  |  |  | 17.7637 | 1.0796 | 14.5459 | 13.3719 | 46.7611
2066/67 | 47 | 4430 |  |  |  | 17.7637 | 1.0796 | 14.5459 | 28.5608 | 61.9499
2067/68 | 48 | 4430 |  |  |  | 17.7637 | 1.0796 | 14.5459 | 13.3719 | 46.7611
2068/69 | 49 | 4430 |  |  |  | 17.7637 | 1.0796 | 14.5459 | 28.5608 | 61.9499
2069/70 | 50 | 4430 |  |  |  | 17.7637 | 1.0796 | 14.5459 | 16.211 | 49.6001
2070/71 | 51 | 4430 |  |  |  | 17.7637 | 1.0796 | 14.5459 | 15.0754 | 48.4645
2071/72 | 52 | 4430 |  |  |  | 17.7637 | 1.0796 | 14.5459 | 15.0754 | 48.4645
2072/73 | 53 | 4430 |  |  |  | 17.7637 | 1.0796 | 14.5459 | 15.0754 | 48.4645
2073/74 | 54 | 4430 |  |  |  | 17.7637 | 1.0796 | 14.5459 | 14.2236 | 47.6128
2074/75 | 55 | 4430 |  |  |  | 17.7637 | 1.0796 | 14.5459 | 13.3719 | 46.7611
2075/76 | 56 | 4430 |  |  |  | 17.7637 | 1.0796 | 14.5459 | 13.3719 | 46.7611
2076/77 | 57 | 4430 |  |  |  | 17.7637 | 1.0796 | 14.5459 | 13.3719 | 46.7611
2077/78 | 58 | 4430 |  |  |  | 17.7637 | 1.0796 | 14.5459 | 13.3719 | 46.7611
2078/79 | 59 | 4430 |  |  |  | 17.7637 | 1.0796 | 14.5459 | 13.3719 | 46.7611
2079/80 | 60 | 4430 |  |  |  | 17.7637 | 1.0796 | 14.5459 | 16.211 | 49.6001
2080/81 | 61 | 4430 |  |  |  | 17.7637 | 1.0796 | 14.5459 | 13.3719 | 46.7611
2081/82 | 62 | 4430 |  |  |  | 17.7637 | 1.0796 | 14.5459 | 13.3719 | 46.7611
2082/83 | 63 | 4430 |  |  |  | 17.7637 | 1.0796 | 14.5459 | 13.3719 | 46.7611
2083/84 | 64 | 4430 |  |  |  | 17.7637 | 1.0796 | 14.5459 | 13.3719 | 46.7611
2084/85 | 65 | 4430 |  |  |  | 17.7637 | 1.0796 | 14.5459 | 13.3719 | 46.7611
2085/86 | 66 | 4430 |  |  |  | 17.7637 | 1.0796 | 14.5459 | 13.3719 | 46.7611
2086/87 | 67 | 3059 | [5 empty] | 10.0442 |  | 10.0442
2087/88 | 68 | 475 | [5 empty] | 1.5597 |  | 1.5597
2088/89 | 69
2089/90 | 70
2090/91 | 71
2091/92 | 72
2092/93 | 73
2093/94 | 74
2094/95 | 75
| PV = | 63526.3914 | 2987.7072 | 66.4037 | 61.5883 | 300.6184 | 12.6966 | 208.5887 | 230.6377 | 3868.2407
| LCOE@Gen. ($/MW.h) = |  | 47.031 | 1.0453 | 0.96949 | 4.7322 | 0.19986 | 3.2835 | 3.6306 | 60.8919
| LCOE@Load ($/MW.h) = |  | 51.7341 | 1.1498 | 1.0664 | 5.2054 | 0.21985 | 3.6118 | 3.9936 | 66.9811

## 2 - March 2014 Estimates
Levelized Cost of Energy | [9 empty] | Undertaking #41
Conawapa Generating Station
| Current Dollar Year: | 2013 |  |  |  |  | With Transmission | 2013$ | 2014$
| Discount Rate: | 5.05 | % |  |  |  | Base Estimate: | 6010.9417 | 6125.3813 | $Million
| Service Life: | 67 | yrs |  |  |  | Overnight Capital Cost: | 4047.7722 | 4124.8359 | $/kW
| Time to First Power: | 13 | yrs |  |  |  | LCOE@Gen.: | 64.938 | 66.1743 | $/MW.h
| Nominal Capacity: | 1485 | MW |  |  |  | LCOE@Load: | 71.4318 | 72.7917 | $/MW.h
| Net Summer Capacity: | 1395 | MW
| Net Winter Capacity: | 1300 | MW |  |  |  | Without Transmission | 2013$ | 2014$
| Capacity Factor: | 57 | % |  |  |  | Base Estimate: | 6000.4693 | 6114.7096 | $Million
| Auxiliary Power: | 0 | % |  |  |  | Overnight Capital Cost: | 4040.7201 | 4117.6495 | $/kW
| N to S Trans. Adjustment: | 10 | % |  |  |  | LCOE@Gen.: | 64.8468 | 66.0814 | $/MW.h
| Capital Tax: | 0.5 | % |  |  |  | LCOE@Load: | 71.3315 | 72.6895 | $/MW.h
| Water Rental Rate: | 3.3426 | $/MW.h
| Heat Rate: | N/A | Btu/kW.h
Generation (Millions of $CDN)
Fiscal Year | Years to Earliest ISD | Average Net Energy (GW.h) | Generating Station | Trans. Station | Trans. Line | Capital Tax on GS | Capital Tax on TL & TS | Water Rentals | Fixed O&M | TOTAL COST
| Sunk | [8 empty] | 0
2013/14 | -13 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
2014/15 | -12 | 0 | 27.3168 |  | 0 | 0.13658 | 0 | 0 | 0 | 27.4533
2015/16 | -11 | 0 | 30.6407 |  | 0 | 0.28979 | 0 | 0 | 0 | 30.9305
2016/17 | -10 | 0 | 82.6763 |  | 0 | 0.70317 | 0 | 0 | 0 | 83.3794
2017/18 | -9 | 0 | 100.8909 |  | 0 | 1.2076 | 0 | 0 | 0 | 102.0985
2018/19 | -8 | 0 | 480.5656 |  | 0 | 3.6105 | 0 | 0 | 0 | 484.1761
2019/20 | -7 | 0 | 792.6661 |  | 0 | 7.5738 | 0 | 0 | 0 | 800.2398
2020/21 | -6 | 0 | 503.2516 |  | 0 | 10.09 | 0 | 0 | 0 | 513.3416
2021/22 | -5 | 0 | 897.5992 |  | 0 | 14.578 | 0 | 0 | 0 | 912.1772
2022/23 | -4 | 0 | 679.5522 |  | 0.52362 | 17.9758 | 0.0026181 | 0 | 0 | 698.0542
2023/24 | -3 | 0 | 613.7154 |  | 1.0472 | 21.0444 | 0.0078543 | 0 | 0 | 635.8149
2024/25 | -2 | 0 | 491.1348 |  | 2.0945 | 23.5 | 0.018327 | 0 | 0 | 516.7477
2025/26 | -1 | 0 | 863.6115 |  | 4.7126 | 27.8181 | 0.041889 | 0 | 0 | 896.1841
2026/27 | 0 | 2200 | 386.4568 |  | 2.0945 | 29.7504 | 0.052362 | 5.6337 | 13.9809 | 437.9686
2027/28 | 1 | 6600 | 50.7627 |  |  | 30.0042 | 0.052362 | 16.5859 | 14.2047 | 111.6098
2028/29 | 2 | 7000 | -0.37116 |  |  | 30.0023 | 0.052362 | 17.2631 | 13.9182 | 60.8648
2029/30 | 3 | 7000 |  |  |  | 30.0023 | 0.052362 | 16.9412 | 14.1304 | 61.1263
2030/31 | 4 | 7000 |  |  |  | 30.0023 | 0.052362 | 16.6253 | 13.9606 | 60.6406
2031/32 | 5 | 7000 |  |  |  | 30.0023 | 0.052362 | 16.3153 | 13.9197 | 60.2897
2032/33 | 6 | 7000 |  |  |  | 30.0023 | 0.052362 | 16.0111 | 13.6915 | 59.7573
2033/34 | 7 | 7000 |  |  |  | 30.0023 | 0.052362 | 15.7126 | 13.2722 | 59.0395
2034/35 | 8 | 7000 |  |  |  | 30.0023 | 0.052362 | 15.4196 | 13.2775 | 58.7518
2035/36 | 9 | 7000 |  |  |  | 30.0023 | 0.052362 | 15.1321 | 13.3199 | 58.5067
2036/37 | 10 | 7000 |  |  |  | 30.0023 | 0.052362 | 14.85 | 15.9813 | 60.8859
2037/38 | 11 | 7000 |  |  |  | 30.0023 | 0.052362 | 14.5731 | 13.1506 | 57.7784
2038/39 | 12 | 7000 |  |  |  | 30.0023 | 0.052362 | 14.3013 | 13.1506 | 57.5066
2039/40 | 13 | 7000 |  |  |  | 30.0023 | 0.052362 | 14.0347 | 13.1506 | 57.24
2040/41 | 14 | 7000 |  |  |  | 30.0023 | 0.052362 | 13.773 | 13.1506 | 56.9783
2041/42 | 15 | 7000 |  |  |  | 30.0023 | 0.052362 | 13.5162 | 13.1506 | 56.7215
2042/43 | 16 | 7000 |  |  |  | 30.0023 | 0.052362 | 13.2642 | 12.5067 | 55.8256
2043/44 | 17 | 7000 |  |  |  | 30.0023 | 0.052362 | 13.0169 | 12.5067 | 55.5783
2044/45 | 18 | 7000 |  |  |  | 30.0023 | 0.052362 | 12.7741 | 12.5067 | 55.3356
2045/46 | 19 | 7000 |  |  |  | 30.0023 | 0.052362 | 12.536 | 12.5067 | 55.0974
2046/47 | 20 | 7000 |  |  |  | 30.0023 | 0.052362 | 12.3022 | 15.3374 | 57.6943
2047/48 | 21 | 7000 |  |  |  | 30.0023 | 0.052362 | 12.0728 | 12.5067 | 54.6343
2048/49 | 22 | 7000 |  |  |  | 30.0023 | 0.052362 | 11.8477 | 12.5067 | 54.4092
2049/50 | 23 | 7000 |  |  |  | 30.0023 | 0.052362 | 11.6268 | 12.5067 | 54.1883
2050/51 | 24 | 7000 |  |  |  | 30.0023 | 0.052362 | 11.41 | 12.5067 | 53.9715
2051/52 | 25 | 7000 |  |  |  | 30.0023 | 0.052362 | 11.1973 | 14.2051 | 55.4571
2052/53 | 26 | 7000 |  |  |  | 30.0023 | 0.052362 | 10.9885 | 14.2051 | 55.2483
2053/54 | 27 | 7000 |  |  |  | 30.0023 | 0.052362 | 10.7836 | 14.2051 | 55.0435
2054/55 | 28 | 7000 |  |  |  | 30.0023 | 0.052362 | 10.5825 | 14.2051 | 54.8424
2055/56 | 29 | 7000 |  |  |  | 30.0023 | 0.052362 | 10.3852 | 14.2051 | 54.6451
2056/57 | 30 | 7000 |  |  |  | 30.0023 | 0.052362 | 10.1916 | 15.3374 | 55.5837
2057/58 | 31 | 7000 |  |  |  | 30.0023 | 0.052362 | 10.0016 | 12.5067 | 52.563
2058/59 | 32 | 7000 |  |  |  | 30.0023 | 0.052362 | 9.8151 | 12.5067 | 52.3765
2059/60 | 33 | 7000 |  |  |  | 30.0023 | 0.052362 | 9.6321 | 12.5067 | 52.1935
2060/61 | 34 | 7000 |  |  |  | 30.0023 | 0.052362 | 9.4525 | 12.5067 | 52.0139
2061/62 | 35 | 7000 |  |  |  | 30.0023 | 0.052362 | 9.2762 | 12.5067 | 51.8376
2062/63 | 36 | 7000 |  |  |  | 30.0023 | 0.052362 | 9.1033 | 12.5067 | 51.6647
2063/64 | 37 | 7000 |  |  |  | 30.0023 | 0.052362 | 8.9335 | 27.6508 | 66.6391
2064/65 | 38 | 7000 |  |  |  | 30.0023 | 0.052362 | 8.7669 | 12.5067 | 51.3284
2065/66 | 39 | 7000 |  |  |  | 30.0023 | 0.052362 | 8.6035 | 27.6508 | 66.309
2066/67 | 40 | 7000 |  |  |  | 30.0023 | 0.052362 | 8.4431 | 15.3374 | 53.8352
2067/68 | 41 | 7000 |  |  |  | 30.0023 | 0.052362 | 8.2856 | 27.6508 | 65.9912
2068/69 | 42 | 7000 |  |  |  | 30.0023 | 0.052362 | 8.1311 | 12.5067 | 50.6926
2069/70 | 43 | 7000 |  |  |  | 30.0023 | 0.052362 | 7.9795 | 27.6508 | 65.6851
2070/71 | 44 | 7000 |  |  |  | 30.0023 | 0.052362 | 7.8307 | 12.5067 | 50.3922
2071/72 | 45 | 7000 |  |  |  | 30.0023 | 0.052362 | 7.6847 | 27.6508 | 65.3903
2072/73 | 46 | 7000 |  |  |  | 30.0023 | 0.052362 | 7.5414 | 12.5067 | 50.1029
2073/74 | 47 | 7000 |  |  |  | 30.0023 | 0.052362 | 7.4008 | 27.6508 | 65.1064
2074/75 | 48 | 7000 |  |  |  | 30.0023 | 0.052362 | 7.2628 | 12.5067 | 49.8243
2075/76 | 49 | 7000 |  |  |  | 30.0023 | 0.052362 | 7.1274 | 27.6508 | 64.833
2076/77 | 50 | 7000 |  |  |  | 30.0023 | 0.052362 | 6.9945 | 15.3374 | 52.3866
2077/78 | 51 | 7000 |  |  |  | 30.0023 | 0.052362 | 6.8641 | 29.3492 | 66.2681
2078/79 | 52 | 7000 |  |  |  | 30.0023 | 0.052362 | 6.7361 | 14.2051 | 50.996
2079/80 | 53 | 7000 |  |  |  | 30.0023 | 0.052362 | 6.6105 | 29.3492 | 66.0145
2080/81 | 54 | 7000 |  |  |  | 30.0023 | 0.052362 | 6.4873 | 14.2051 | 50.7471
2081/82 | 55 | 7000 |  |  |  | 30.0023 | 0.052362 | 6.3663 | 29.3492 | 65.7703
2082/83 | 56 | 7000 |  |  |  | 30.0023 | 0.052362 | 6.2476 | 12.5067 | 48.809
2083/84 | 57 | 7000 |  |  |  | 30.0023 | 0.052362 | 6.1311 | 12.5067 | 48.6925
2084/85 | 58 | 7000 |  |  |  | 30.0023 | 0.052362 | 6.0168 | 12.5067 | 48.5782
2085/86 | 59 | 7000 |  |  |  | 30.0023 | 0.052362 | 5.9046 | 12.5067 | 48.466
2086/87 | 60 | 7000 |  |  |  | 30.0023 | 0.052362 | 5.7945 | 15.3374 | 51.1866
2087/88 | 61 | 7000 |  |  |  | 30.0023 | 0.052362 | 5.6865 | 12.5067 | 48.2479
2088/89 | 62 | 7000 |  |  |  | 30.0023 | 0.052362 | 5.5804 | 12.5067 | 48.1419
2089/90 | 63 | 7000 |  |  |  | 30.0023 | 0.052362 | 5.4764 | 12.5067 | 48.0378
2090/91 | 64 | 7000 |  |  |  | 30.0023 | 0.052362 | 5.3743 | 12.5067 | 47.9357
2091/92 | 65 | 7000 |  |  |  | 30.0023 | 0.052362 | 5.2741 | 12.5067 | 47.8355
2092/93 | 66 | 7000 |  |  |  | 30.0023 | 0.052362 | 5.1757 | 12.5239 | 47.7543
2093/94 | 67 | 4800 | [5 empty] | 3.4829 |  | 3.4829
2094/95 | 68 | 400 | [5 empty] | 0.28483 |  | 0.28483
| PV = | 71287.539 | 3938.9991 | 0 | 5.9072 | 397.5729 | 0.59325 | 135.1236 | 151.0722 | 4629.2682
| LCOE@Gen. ($/MW.h) = |  | 55.2551 | 0 | 0.082865 | 5.577 | 0.008322 | 1.8955 | 2.1192 | 64.938
| LCOE@Load ($/MW.h) = |  | 60.7806 | 0 | 0.091151 | 6.1347 | 0.0091542 | 2.085 | 2.3311 | 71.4318